| SAIPRO INDUSTRIES PVT LTD |  |  |  |
| --- | --- | --- | --- |
| PREVENTIVE MAINTANANCE CHECKLIST - AHU |  |  |  |
| FORMAT NO. |  | SIPL/SOP/EN/04-F01 |  |
| EQUIPMENT NO. |  |  |  |
| LOCATION |  |  |  |
| DATE |  |  |  |
| SR. NO | PARAMETERS TO BE CHECK | STATUS | ACTIONS TO BE TAKENS |
| 1 | CHECK THE MAIN SWITCH | ON/OFF |  |
| 2 | CHECK THE CONDITION OF "V" BELT | OK/NOT OK/NA |  |
| 3 | CHECK BELT TENSION | OK/NOT OK |  |
| 4 | CHECK FOUNDATION BELD OF MOTOR | OK/ LOOSE |  |
| 5 | CHECK BALENCING OF BLOWER | OK/NOT OK/NA |  |
| 6 | CHECK ALL POWER AND ELECTRICAL CONNECTIONS | OK/ LOOSE |  |
| 7 | CHECK THE DRAIN LINE OF DRAIN TRAY | CLEANED / DUSTY |  |
| 8 | CHECK THE FILTER CONDITION | CLEANED / DUSTY |  |
| 9 | CHECK FOR AIR LEAKADGE ON ALL THE JOINTS & DOORS | OK/LEAKAGE |  |
| 10 | CHECK MANOMETER READINGS (IF APPLICABLE) & IF PRESSURE DIFFRENCIAL READINGS ( IFAPPLICABLE | OK/NOT OK/NA |  |
| 11 | CHECK TEMP SENSOR & HUMIDITY SENSOR | OK/NOT OK/NA |  |
| DONE BY CHECKED BY |  |  |  |