- OBJECTIVE

To lay down a procedure for Room number and Equipment/ Instrument and Subcomponent Numbering System.

- SCOPE

This procedure is applicable to all related user departments of ZUMA PHARMA LLC.

- RESPONSIBILITY

  - Engineering department shall be responsible to identify and affix the room numbers, equipment/ instrument and subcomponent numbers according to respective records.

  - QA department shall be responsible for allotment of Room number, Equipment/ Instrument and label of subcomponent number and maintaining its record.

- ACCOUNTABILITY

Head of department shall be accountable for the compliance of SOP.

- DEFINITIONS

NA

- PROCEDURE

  - Room Numbering system:

    - Engineering department shall identify the room which is to be numbered and request (Refer format No. SOP/QA/058-F03) to be send to QA to allot number.

    - QA department shall allot specific room number to each room in the plant as per layout.

    - The room number shall be written in alphanumeric type, consisting of 8 characters, which are as follows:

| XXX |  | ZZZ |
| --- | --- | --- |

3 Numerical digit room number

Two or three letter for facility code (Refer Table 1)

Table 1

| S. No. | Facility | Code |
| --- | --- | --- |
| 1. | Pre-filled syringes line | PFS |
| 2. | Vial line (solutions and lyophilized products in vial) | LYO |
| 3. | Warehouse | WH |
| 4. | Admin Block | GEN |
| 5. | Quality Control (Analytical laboratory) | AL |
| 6. | Quality Control (Microbiological laboratory) | ML |
| 7. | Engineering / Utility block’s | UT |
| 8. | Guest Houses | GH |

For Example:

AL001 indicates room number 001 on first room of analytical laboratory of Quality Department.

PFS001 indicates room number 001 on first room of pre-filled syringes line of production.

    - In case of some modifications in any room, due to which a single room is divided into 2 or more rooms, the room numbers can be differentiated by adding a suffix A, B, C…and so on to the original room number.

    - Record shall be maintained as per Annexure number SOP/QA/058-F04 - “Room Identification Number Record”.

    - Manager or designee of QA Department shall duly approve the prepared Room Identification list.

    - Respective department shall update the room numbering list as per Annexure number. SOP/QA/058-F08 - “Room Numbering List” when new room incorporated/removed/merged and changes will be done as per change control procedure.

    - For numbering / ID of new room respective department shall give the request to QA Department as per SOP/QA/058-F03 – “Room number/ ID Request Form”.

    - Engineering department shall affix & maintain the identification number label.

  - Equipment/ Instrument Identification Numbering System:

6.2.1	User department shall send request (Refer format No. SOP/QA/058-F01) to QA to allot specific Equipment/ Instrument Identification Number.

    - QA department shall allot specific Equipment/ Instrument Identification Number.

    - For making similarity in Equipment/ Instrument ID following procedure shall be followed.

    - The equipment identification number shall be written in alphanumeric type, consisting of 9 characters, which are as follows:

| XX | / | YYY | - | ZZ |
| --- | --- | --- | --- | --- |

2-digit Numerical Equipment/ Instrument sequential number

Hyphen

3-digit alphabetic equipment code

Slash

Department code (Refer SOP/QA/001)

For Example:

AL/SHS-01 (Steam Heat Sterilizer in Quality Control) or AL/INC-01 (Incubator in Quality Control).

    - Before preparing URS for new Equipment/ Instrument, User Department shall intimate QA department for allotting a new number as SOP/QA/058-F01 - “Equipment Registration form”.

    - QA department shall allot specific Equipment/ Instrument ID for each of the equipment/ Instrument.

    - Record shall be maintained as per Annexure number. SOP/QA/058-F05 - “Equipment/ Instrument Identification Number Record”.

    - Manager or designee of QA Department shall duly approve the prepared Equipment/ Instrument Identification list.

    - Engineering department shall affix & maintain the identification number tag.

    - The identification number allotted once shall not be repeated.

    - If any Equipment/ Instrument is replaced by new one then new identification number shall be given as per change control procedure and allocate new ID.

    - Respective department shall update the equipment numbering list as per Annexure number SOP/QA/058-F07 - Equipment/ Instrument Numbering List” as and when new equipment installed in department.

    - Equipment identification number shall void if equipment is scrapped.

    - QA department shall maintain the master copy of the same and the copy of the same shall be given

to respective department.

  - Equipment Sub-Component Numbering System:

    - The identification number of sub-components installed on the equipment/instrument, consists of 9 alphanumeric characters given as follows:

| XX | / | YYY | - | ZZ | / | AA | - | BB |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Equipment/ Instrument sub-component number starting from 01.

Hyphen

2-digit alphabet code of concerned Equipment/ Instrument sub-component (as per Table 2, but not limited to).

Slash

2-digit Numerical Equipment/ Instrument sequential number

Hyphen

3-digit alphabetic equipment code

Slash

Department code (Refer SOP/QA/001)

    - For example: As Steam Heat Sterilizer is the first equipment in Quality Control department and the first component is Pressure Gauge in compressed air line, so the sub-component number shall be allocated as AL/SHS-01/PG-01.

    - For abbreviations of Equipment/ Instruments Sub-components refer Annexure Number SOP/QA/058-A06.

    - All other sub-components of a particular equipment/instrument shall bear different codes. For example, if Steam Heat Sterilizer of Quality Control Department. - Microbiology Section has 3 temperature sensor and 2 pressure gauges; they shall be numbered as AL/SHS-01/TS-01,

AL/SHS-01/TS-02, AL/SHS-01/TS-03 and AL/SHS-01/PG-01, AL/SHS-01/PG-02.

    - On receipt of new component or replacement of old component with new one, User Department shall intimate QA department for allotting a new number as per SOP/QA/058-F02 - “Sub-Component Registration form”.

    - In case of AHU Components/Instruments numbering shall be done as mentioned below:

    - For example: In HVAC system there are 17 AHU’s. So, for first AHU its first component is Temperature Gauge in hot water line, so the sub-component number shall be allocated as AHU-01/TG01.

    - As soon as the Equipment/ Instrument is received in the respective department, the respective department shall inform QA department for allocation of its ID.

    - QA department shall provide the Equipment/ Instrument ID to user department and shall intimate Engineering department to prepare a list of all the sub-components available in the Equipment/ Instrument.

    - Engineering department shall prepare the list and allot the sub-component ID.

    - Engineering department shall maintain the record as per Annexure number SOP/QA/058-F06 “Equipment/ Instrument Sub-Component Identification Record”.

    - Engineering Head or Designee shall review the sub-component list after allocating the code and final approval of the list shall be done by QA Head/ Designee.

    - The respective numbering lists shall be revised shall be revised by engineering department at every six month or as when required.

- ABBREVIATIONS:

| SHS | Steam Heat Sterilizer |
| --- | --- |
| HVAC | Heating Ventilation and Air Conditioning System |
| QA | Quality Assurance |
| ID | Identification |
| AHU | Air Handling Unit |
| NA | Not Applicable |
| PG | Pressure Gauge |
| TS | Temperature Sensor |

- REFERENCES

  - Preparation, Review, Approval, Control & Revision of Standard Operating Procedure. (SOP/QA/001)

  - 21 CFR 211.105: Equipment Identifications

- DISTRIBUTION LIST

SOP shall be distributed to Quality Assurance, Production, Quality Control, warehouse, Engineering and IT department as per user request.

- ANNEXURES

  - Equipment Registration Form					: SOP/QA/058-F01

  - Sub-Component Registration Form					: SOP/QA/058-F02

  - Room Number/ ID Request Form					: SOP/QA/058-F03

  - Room Identification Number Record				: SOP/QA/058-F04

  - Equipment/ Instrument Identification Number Record		: SOP/QA/058-F05

  - Equipment/ Instrument Sub-Component Identification Record	: SOP/QA/058-F06

  - Equipment/Instrument Numbering list                                            	: SOP/QA/058-F07

  - Room Numbering list                                                                	: SOP/QA/058-F08

  - Equipment Sub-components/ Instruments Abbreviations		: SOP/QA/058-A01

- REVISION HISTORY DETAILS

| Revision | Reason for Revision | CCF. No. | Effective Date |
| --- | --- | --- | --- |
| 00 | First issue |  |  |

END OF DOCUMENT